Condair MK4

| No | Model | Item No | Description |
| --- | --- | --- | --- |
| 1-12 | All | No longer available |
| 13 | All | DF220066 | Running time meter |
| 14-19 | All | No longer available |

| No | Model | Item No | Description |
| --- | --- | --- | --- |
| 1-2 | All | No longer available |
| 3 | All | DF201450 | Filling Hose Set ST/IT |
| 4 | All | DF220059 | Filling Cup Cpl |
| 5 | All | DF201452 | Water Inlet Hose Set ST/IT |
| 6 | All | DF302614 | T-Piece Set |
| 7 | All | DF220062 | Gasket Drain Valve Set |
| 8-9 | All | No longer available |
| 10 | All | DF203439 | Drain Valve Assy Complete |
| 11 | All | DF220063 | Gear Motor |
| 12 | All | DF1103857 | PEX-Hose |
| 13-14 | All | No longer available |
| 15 | All | DF203496 | Float Level Unit PCB |
| 16 | All | DF1114754 | Float Holder |
| 17 | All | DF201451 | Condensate Hose Set ST/IT |

| No | Model | Item No | Description |
| --- | --- | --- | --- |
| 1 | All | DF220053 | Steam outlet hose cpl |
| 2 | 5/10kg | DF220051 | Cover Clamping Ring |
|  | 20/30kg | DF1103814 |  |
| 3 | All | DF223520 | Steam cylinder strainer* |
|  |  | DF222569 | Steam cylinder strainer for mixed water* |
| 4 | 5/10kg | DF203426 | Scale collector foil* |
|  | 20/30kg | DF203427 |  |
| 5-6 | All | No longer available |
| 7 | 5/10kg | DF1101516 | Gasket* |
|  | 20/30kg | DF1100966 |  |
| 8 | All | No longer available |
| 9 | 5kg | DF220055 | Connector |
|  | 10/20kg | DF220056 |  |
|  | 30kg | DF1103832 |  |
| 10 | All | DF1103822 | Thermostat cpl |

*Consumable items recommended to be kept on site. Standard 2-3 day Mainland UK delivery is charged at 3% order value subject to minimum charge of £30. Overseas delivery £POA